TYPICAL SPECIFICATIONS FOR ACME RR-WS SERIES WIRELESS REMOTE RELAY MODULE AS A COMPONENT OF A CEW MULTIPOINT, MULTIGAS DETECTION AND CONTROL SYSTEMS

1.0	Supply and install as shown on drawings an ACME RR-ST-485 Series  Remote Relay Module and Multipoint Multigas Centralized Detection and Control System.

Note: Panels and Remote Sensor/Transmitter stations shall be by the same manufacture.

1.1	DESCRIPTION

The RR-ST-485 shall operate within  an addressable RS485 communication network to communicate with the CEL Panel.

1.2	Each RR-ST-485 shall have up to 8 SPDT relays that can be independently controlled by a CEL Panel.

  - The RR-ST-485 shall be hardwired for power.  The unit shall be capable of operating with either 24 Vdc or 110 Vac.

  - The system parameter such as set-points, time delays, hysteresis, etc. shall be programmed at the factory.

  - The equipment shall be CSA and/or ETL certified.